{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["劳务费用分项单价"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"劳务费用分项单价","index":0,"n_rows":169,"n_cols":5,"rows_kept":169,"merged":[[0,0,0,4],[105,4,110,4]],"flags":["formulas_cached_only"]}
["霍山县清源供水有限责任公司2023年劳务分包采购项目分项单价计价表"]
["序号","分项名称及说明","计量单位","含税劳务费用单价","备注"]
[null,"一、井类工程",null,""]
["1","0.3m*0.5m小型井（墙体240厚，内外抹灰，含盖板安装）","座",85.6]
["2","0.5m*0.5m中型井（墙体240厚，内外抹灰，含盖板安装）","座",131.6]
["3","0.5m*0.8m水表井（墙体240厚，内外抹灰，含盖板安装）","座",183.9]
["4","0.5m*1m水表井（墙体240厚，内外抹灰，含盖板安装）","座",231.5]
["5","φ1.1m圆形井（墙体240厚，内外抹灰，含盖板安装）","座",675.2]
["6","升井（增加高30cm内）（墙体240厚，内外抹灰，含盖板安装）","座",98.3]
["7","升井（增加高50cm内）（墙体240厚，内外抹灰，含盖板安装）","座",151.3]
["8","砖砌方型井（墙体240厚，内外抹灰，含盖板安装）","m3",665,"按内径计算"]
["9","C25现浇混凝土盖板（单层钢筋）厚20cm","m2",240,"按外径计算"]
["10","C25现浇混凝土盖板（双层钢筋）厚20cm","m2",295,"按外径计算"]
["11","砖砌水表箱底座（6组水表箱）","座",121]
["12","砖砌水表箱底座（12组水表箱）","座",165.8]
[null,"二、土石方开挖回填、破除及修补恢复",null,""]
[13,"φ20—40mm管沟（H=0.3m,B=0.3m)土方挖填平整劳务费","m",4.5]
[14,"φ50—63mm管沟（H=0.4m,B=0.3m)土方挖填平整劳务费","m",7.8]
[15,"φ75—100mm管沟（H=0.7m,B=0.5m)土方挖填平整劳务费","m",12.2]
[16,"φ150—200mm管沟（H=0.8m,B=0.6m)土方挖填平整劳务费","m",13.2]
[17,"φ250—300mm管沟（H=0.9m,B=0.8m)土方挖填平整劳务费","m",16.5]
[18,"φ400mm管沟（H=0.8m,B=0.6m)土方挖填平整劳务费","m",18.8]
[19,"零星土方开挖（含回填）","m3",26.8]
[20,"单项开挖（土方、不回填）","m3",19.8]
[21,"单项开挖（石方）","m3",155.2]
[22,"破除水泥混凝土地坪","m2",32]
[23,"补水泥混凝土地坪","m2",43.5]
[24,"破沥青混凝土路面面层（8-10cm厚）","m2",12.3]
[25,"沥青混凝土路面修补（1cm厚/m2）","m2","16.35","1cm厚"]
[26,"破补草坪","m2",20]
[27,"破25cm厚以下混凝土","m3",245]
[28,"破25cm厚以上混凝土","m3",290]
[29,"风镐台班","台班",700]
[30,"恢复C30混凝土构件（商品砼）","m3",764.04]
[31,"破人行道素混凝土垫层","m3",190]
[32,"破水泥稳定料垫层","m3",80]
[33,"拆除人行道砖","m2",10]
[34,"道路砖恢复（含8cm厚水泥砂浆垫层）","m2","60.54"]
[null,"三、其他零星项目",null,""]
[35,"填砂","m3",233.6]
[36,"填石粉","m3",193.5]
[37,"填混合砂","m3",218.6]
[38,"土方外运（运输至指定地点）","m3",25.56,"含渣土费"]
[39,"240厚实心砖墙","m2","148.05"]
[40,"120厚实心砖墙","m2",78.42]
[41,"干砌毛石砌体","m3",255.8]
[42,"浆砌毛石砌体","m3",434.59]
[43,"机械钻孔DN6cm（开墙洞）","个",20]
[44,"机械钻孔DN12cm（开墙洞）","个",40]
[45,"挖机、吊机","小时",160]
[46,"人工工资","工日","163.50"]
[47,"室外消火栓安装人工费","组",48.5]
[48,"补穿砼楼板、预留管洞（支模清扫）","个",10]
[null,"四、室外施工安装费用",null,""]
[49,"零星私户安装补助","户","218.00"]
[50,"室外承插给水铸铁管（胶圈接口）安装（DN100）","m",6.2]
[51,"室外承插给水铸铁管（胶圈接口）安装（DN150）","m",8.5]
[52,"室外承插给水铸铁管（胶圈接口）安装（DN200）","m",11.6]
[53,"室外承插给水铸铁管（胶圈接口）安装（DN250）","m",14.8]
[54,"室外承插给水铸铁管（胶圈接口）安装（DN300）","m",17.9]
[55,"室外承插给水铸铁管（胶圈接口）安装（DN400）","m",21.3]
[56,"室外塑料给水管热熔连接安装（DN15-32塑料管）","m",1.5]
[57,"室外塑料给水管热熔连接安装（DN40-63塑料管)","m",2.1]
[58,"室外塑料给水管热熔连接安装（DN75-110塑料管)","m",2.6]
[59,"室外塑料给水管热熔连接安装（DN125-160塑料管)","m",3.6]
[60,"室外塑料给水管热熔连接安装（DN200-250塑料管)","m",5.3]
[61,"室外塑料给水管热熔连接安装（DN300-500塑料管)","m",13.2]
[62,"室外塑料给水管热熔连接安装（DN75钢丝管)","m",5.3]
[63,"分户、改造、高层安装室外塑料给水管热熔连接(DN15-32塑料管)","m",3.2]
[64,"分户、改造、高层安装室外塑料给水管热熔连接(DN40-63塑料管)","m",4.3]
[65,"分户、改造、高层安装室外塑料给水管热熔连接(DN75-160塑料管)","m",5.3]
[66,"DN15-20阀门（螺纹式、法兰式含止回阀）安装","个",2.1]
[67,"DN25-32阀门（螺纹式、法兰式含止回阀）安装","个",3.2]
[68,"DN40-63阀门（螺纹式、法兰式含止回阀）安装","个",5.3]
[69,"DN80-100阀门（螺纹式、法兰式含止回阀）安装","个",15.6]
[70,"DN125-200阀门（螺纹式、法兰式含止回阀）安装","个",25.8]
[71,"DN250-300阀门（螺纹式、法兰式含止回阀）安装","个",41.8]
[72,"DN350-400阀门（螺纹式、法兰式含止回阀）安装","个",63.5]
[73,"DN15-25水表（螺纹式、法兰式含过滤器）安装","组",2.4]
[74,"DN32-40水表（螺纹式、法兰式含过滤器）安装","组",5.6]
[75,"DN50水表（螺纹式、法兰式含过滤器）安装","组",11.3]
[76,"DN80-100水表（螺纹式、法兰式含过滤器）安装","组",22.6]
[77,"DN150-200水表（螺纹式、法兰式含过滤器）安装","组",33.8]
[78,"表箱运费","个","5.45"]
[79,"成品表箱安装","个",6.6]
[80,"采集器、集中器安装","个","10.90"]
[81,"安装远传水表(单个安装)","个","10.90"]
[82,"安装远传水表(集体安装)","个","6.54"]
[83,"线管、运费","米",0.22]
[84,"线管安装","米",1.1]
[85,"穿线","m",1.1]
[86,"DN50法兰片安装","副",6.6]
[87,"DN80法兰片安装","副",8.8]
[88,"DN100法兰片安装","副",11.2]
[89,"DN150法兰片安装","副",16.5]
[90,"DN200法兰片安装","副",22.3]
[91,"DN250法兰片安装","副",34.5]
[92,"DN300法兰片安装","副",49.5]
[93,"DN400法兰片安装","副",66.8]
[94,"二组分户器安装费","组","5.45"]
[95,"三组分户器安装费","组","8.72"]
[96,"四组分户器安装费","组","13.08"]
[97,"五组分户器安装费","组","16.35"]
[98,"六组分户器安装费","组","19.62"]
[99,"自制分户器（2组、3组、4组）安装费","组","54.50"]
[100,"DN20-32管运费","m","0.22","运输范围东至世林加油站、东南至创新路、西至曾家畈大桥；如超出此范围，按实际发出额另议"]
[101,"DN40-63管运费","m","0.55"]
[102,"DN75-160管运费","m","0.87"]
[103,"DN200-300管运费","m",1.1]
[104,"DN200-300球墨铸铁管运费","m",6.6]
[105,"DN400-600球墨铸铁管运费","m",11.2]
[106,"室外钢管给排水管道焊接安装 公称直径50mm钢管","m",8.6]
[107,"室外钢管给排水管道焊接安装 公称直径65mm钢管","m",11.2]
[108,"室外钢管给排水管道焊接安装 公称直径80mm钢管","m",12.8]
[109,"室外钢管给排水管道焊接安装 公称直径100mm钢管","m",20.8]
[110,"室外钢管给排水管道焊接安装 公称直径150mm钢管","m",29.7]
[111,"室外钢管给排水管道焊接安装 公称直径200mm钢管","m",39.5]
[112,"室外钢管给排水管道焊接安装 公称直径300mm钢管","m",61.8]
[113,"室外钢管给排水管道焊接安装 公称直径400mm钢管","m",83.2]
[114,"室外钢管给排水管道焊接安装 公称直径500mm钢管","m","120.61"]
[115,"室外钢管给排水管道焊接安装 公称直径600mm钢管","m",132.5]
[116,"室外钢管给排水管道焊接安装 公称直径800mm钢管","m",178.5]
[117,"室外钢管给排水管道焊接安装 公称直径1000mm钢管","m",225]
[118,"室外钢管给排水管道焊接安装 公称直径1200mm钢管","m",265]
[119,"室外钢管 管件制作安装 公称直径(mm以内) 100抱箍","个","52.32"]
[120,"室外钢管 管件制作安装 公称直径(mm以内) 150抱箍","个","70.85"]
[121,"室外钢管 管件制作安装 公称直径(mm以内) 200抱箍","个","94.83"]
[122,"室外钢管 管件制作安装 公称直径(mm以内) 300抱箍","个","144.97"]
[123,"室外钢管 管件制作安装 公称直径(mm以内) 400抱箍","个","221.27"]
[124,"室外钢管 管件制作安装 公称直径(mm以内) 500抱箍","个","279.04"]
[125,"室外钢管 管件制作安装 公称直径(mm以内) 600抱箍","个","382.59"]
[126,"室外钢管 管件制作安装 公称直径(mm以内) 800抱箍","个","513.39"]
[127,"室外钢管 管件制作安装 公称直径(mm以内) 1000抱箍","个","668.17"]
[128,"室外钢管 管件制作安装 公称直径(mm以内) 1200抱箍","个","813.14"]
[129,"室外钢管 管件制作安装 公称直径(mm以内) 100挖眼三通","个","69.76"]
[130,"室外钢管 管件制作安装 公称直径(mm以内) 150挖眼三通","个","94.83"]
[131,"室外钢管 管件制作安装 公称直径(mm以内) 200挖眼三通","个","141.70"]
[132,"室外钢管 管件制作安装 公称直径(mm以内) 300挖眼三通","个","195.11"]
[133,"室外钢管 管件制作安装 公称直径(mm以内) 400挖眼三通","个","247.43"]
[134,"室外钢管 管件制作安装 公称直径(mm以内) 500挖眼三通","个","306.29"]
[135,"室外钢管 管件制作安装 公称直径(mm以内) 600挖眼三通","个","348.80"]
[136,"室外钢管 管件制作安装 公称直径(mm以内) 800挖眼三通","个","487.23"]
[137,"室外钢管 管件制作安装 公称直径(mm以内) 1000挖眼三通","个","587.51"]
[null,"五、室内钢管焊接安装劳务费用",null,""]
[138,"室外钢管 管件制作安装 公称直径(mm以内) 40","m",16.5]
[139,"室外钢管 管件制作安装 公称直径(mm以内) 50","m",22.3]
[140,"室外钢管 管件制作安装 公称直径(mm以内) 65","m",25.8]
[141,"室外钢管 管件制作安装 公称直径(mm以内) 80","m",29.2]
[142,"室外钢管 管件制作安装 公称直径(mm以内) 100","m",37.5]
[143,"室外钢管 管件制作安装 公称直径(mm以内) 150","m",45.3]
[144,"室外钢管 管件制作安装 公称直径(mm以内) 200","m",57.6]
[null,"六、室内钢管管件制作安装劳务费用",null,""]
[145,"室内钢管管件制作安装 公称直径(mm以内) 40","个","30.52"]
[146,"室内钢管管件制作安装 公称直径(mm以内) 50","个","37.06"]
[147,"室内钢管管件制作安装 公称直径(mm以内) 65","个","52.32"]
[148,"室内钢管管件制作安装 公称直径(mm以内) 80","个","61.04"]
[149,"室内钢管管件制作安装 公称直径(mm以内) 100","个","83.93"]
[150,"室内钢管管件制作安装 公称直径(mm以内) 150","个","126.44"]
[151,"室内钢管管件制作安装 公称直径(mm以内) 200","个","172.22"]
[null,"七、管道井支架制作安装",null,""]
[152,"管道井支架(一根)","根","38.15"]
[153,"管道井支架(两根)","根","49.05"]
[154,"管道井支架(三根)","根","59.95"]
[155,"管道井支架(四根)","根","70.85"]
[null,"八、钻孔劳务费用"]
[156,"50mm以下水钻孔劳务费用","个","65.40"]
[157,"50-100mm水钻孔劳务费用","个","87.20"]
[158,"100-125mm以下水钻孔劳务费用","个","163.50"]
[159,"150-200mm水钻孔劳务费用","个","327.00"]